Specifications:

01. Super Structure

All of Reinforced Cement Concrete as per Structural Design.

02. Walls

Brick Wall with Cement Plastering on both sides, Wall Putty on Interior Surface and Water-Proof Cement-Paint on external Faces.

03. Flooring

Vitrified-Tiles/Marble Flooring. Master Bedroom with choice of wooden flooring.

04. Toilets

- Wall-Finishing with Designer Ceramic Tiles up to 6 Ft. height.

- Antiskid tiles on bathroom flooring.

- Sanitary Ware of Hindustan/Parryware/Hindware or equivalent Brand, in Standard White.

- C.P. Fittings of Standard Brand (with Wall Mixture) ISI Mark.

- One Commode in Attached Bathroom and O.T.Pan in Common Bathroom.

- One Wash Basin in Dining/Drawing Area.

- Additions and Alterations in Plumbing, C.P. Fittings and Sanitary Ware will be at Flat Owners' Cost, including Material and Labour Charges.

05. Kitchen

Platform: Granite Slab on top of black stone as per drawing with Dado of 2 Ft. Height above Platform.

Sink: 1 Stainless-Steel (single) with water tap  alongwith aquaguard point.

Partition under Kithcen Platform made of black stone.

06. Balcony

M.S. Grill (Heavy Duty) as per Architectural Drawing upto 3 Ft. Height. No changes or Extension is Allowed, without a Confirmation with the Builder in writing.

07. Doors

Finished Main Door with both side Teak Vinear including Door Lock and Eye Piece. All other Doors of Other Rooms will be Flush Doors finished with lamination on both side. Bathroom Doors made of P.V.C.

08. Windows

Anodized-Aluminum Sliding Window with Square Bar Grill welded all sides.

09. Electricals

All Rooms: One Fan Point, Two Light Points and One 5 Amp Plug Point.

In addition, in Master Bedroom only: One A.C. Point, One T.V. Point).

Kitchen – Provided with One Light Point, One 15 Amp and One 5 Amp Plug Point, One Exhaust Fan Point / Chimney Point, One Aqua Guard Point.

Toilet – One Exhaust Fan Point, One 15Amp Geyser Point, One Light Points and One 5 Amp Plug.

Dining & Drwaing – One  Fan Points, Two  Light Points, One T.V.Point, Two 5 Amp Plug Points.

Verandah – Provided with One Light Point One Fan Point and One 5 Amp Plug Point.

Main Gate – Push Bell Point and One Light Point Above the Main Gate.

Switches and Plugs – Modular (Make: Crabtree/Standard/Abb/Havells/Geniusetc.).

All Wirings are concealed and of Best Quality ISI Mark namely Havells/Finolex/Polycab/HPL/ etc. Separate Electric Line (Two Line in a Flat) One for Power Plug and another for Lighting Load.

Note: Any Alteration or Addition is to be informed, in Written, prior to the Commencement of Work, in order to Estimate the Extra Charges. Once the Work is complete, no Addition or Alteration can be allowed.

Note: All inside plumbing work will be concealed with ISI pipes and fittings. All Sanitary fittings will be of ISI marks.

(The Common Facilities and Amenities)

Servant's Quarter and Toilet on Ground Floor.

Good Quality Elevator (Bharat/Theism/Kinetic/Kone).

Staircase and Staircase Lobby with Marble/Kota stone flooring and Stainless Steel Railing.

A Open/Covered Car parking provision (at an Additional Cost) with certain limitations by First Party/ Asscociation.

Sound proof 25 K.V.A Diesel Generator Set for Common areas, that is, for Lift, Lobby and Water-Pump, and also in Individual Flats with certain limitations by the First Party/ Association.

Sufficient size of Underground and Overhead Water Tank.

Water Pump.

Parapit wall upto 30” height.

Children’s Playing Area.

Payment Schedule

| Application Money (Booking Amount) | 1 Lac + Rs Car Parking |
| --- | --- |
| Agreement (within 30 days) | 20% (Including 1 Lac) |
| Agreement + 90 days/ | 20% |
| Agreement + 180 days | 20% |
| Agreement + 270 days | 20% |
| Agreement + 360 days | 10% |
| Possessions | 10% |
| Maintenance Deposit | At Actual |
| Lock in period | + 3 months grace period |
| Registration of agreement for sale (optional) |  |
| Service tax @ 3.09% on the basic flat value excluding Car Parking. |  |